# STORMWATER MANAGEMENT SYSTEM

# LONG TERM MAINTENANCE PLAN

For

Development Name

Development Address/Location

City of Aurora Case File Number

Responsibilities

The stormwater management system constructed for Development Name must be maintained in order for it to perform as designed.  It is the Property Owner’s responsibility to perform periodic inspections of the stormwater management system in order to identify maintenance needs.  It is also the Property Owner’s responsibility to perform the necessary maintenance tasks.

Purpose and Objective

Ditches, storm sewers, inlets, detention basins, water quality treatment devices, natural water bodies, and the like comprise a development’s stormwater management system.  Whenever land is developed, agricultural land or a natural area is replaced with surfaces that are impervious to rain, such as rooftops and pavement.  Landscaped areas within the development tend not to absorb as much rain as agricultural land and natural areas because construction equipment compacts the soil.  Without an effective stormwater management system, a developed site can cause flooding and streambank erosion.  Runoff from parking lots can carry salt, hydrocarbons, heavy metals, and other pollutants.  Nutrients and sediment in the runoff from landscaped areas can also cause pollution.  The stormwater management system was designed to slow the rate of runoff, reduce the volume of runoff, and improve the quality of the stormwater runoff from the site.

Interpretation of This Plan

Preparation of this Long Term Maintenance Plan was a condition of the City of Aurora’s approval of the development.  Maintenance of the stormwater management system according to this Plan will keep the site in compliance with the conditions of that approval.  Since this Long Term Maintenance Plan was required by Article 18-V of Aurora’s City Code, otherwise known as the Stormwater Management Ordinance (SMO), the elements of this Long Term Maintenance Plan should be interpreted with respect to the collective requirements of the SMO.

In addition to the SMO, there are several other documents related to the development that will be helpful in interpreting this Maintenance Plan.

- The approved or as-built Engineering Plans include a map of the stormwater management system, as well as detail drawings for certain elements of the system.

- The approved Landscape Plans include planting and seeding specifications for the wetland detention basin, rain gardens, wetland buffers, or other natural areas on the site.

- The Plat of Easement identifies Stormwater Control Easements and City Easements, which are areas of the site with use restrictions that allow the stormwater management system to perform as intended and to be maintained as needed.

Inspection Frequency

Experience with this site will reveal whether the initial inspection schedule and maintenance schedule recommended in this Plan are appropriate for this site for the long term.  The inspection schedule and maintenance schedule may be modified at any time, without approval from the City of Aurora’s Engineering Division.  Initially, each component of the stormwater management system should be subject to:

- An annual inspection during dry weather in the early spring or late fall; and

- Inspections after every storm event resulting in one inch or more of rainfall.

Inspection reports and photographs from past years will help determine whether the inspection schedule should be modified.  If very little change is noticed between inspections, future inspections could be scheduled with longer time intervals.  The frequency of inspections should be increased when the inspections start to reveal the need for more maintenance.

Maintenance Considerations and Record Keeping

Maintenance activities should be performed during the inspection, whenever possible.  Infrastructure repair that needs to be scheduled should be scheduled as soon as possible.  Timely repair can prevent flooding, erosion, and pollution.  It can also extend the service life of the stormwater management system.

Infrastructure replacement and major maintenance activities should be expected eventually and budgeted accordingly.  When inspections reveal that major repairs or infrastructure replacement will be necessary, consult with a professional that is knowledgeable about stormwater management infrastructure.  A licensed Professional Engineer, Landscape Architect, or contractor can help evaluate alternatives and estimate costs.

The Property Owner is responsible for keeping records of inspections and maintenance.  These records must be provided to the Engineering Division upon request.  Records should include the date of inspections and maintenance activities, the name of the firm and individual(s) who performed the work, as well as a detailed description of the work performed and any future maintenance needs.

# STORMWATER MANAGEMENT SYSTEM

INSPECTION CHECKLIST

This checklist includes typical inspection items and maintenance recommendations for components of the stormwater management system.  Inspection items should be added or deleted, as needed, based on experience with this site.

Prior to Final Engineering Approval, the Design Engineer should customize this checklist for the proposed development.  Add sections and checklist items for site features that are not listed, such as wetland buffers, bridges, rain gardens, permeable pavement, infiltration trenches, or hydrodynamic separators.  Delete sections and checklist items that do not apply to the proposed development.

# General

____	Remove litter and debris from the site.

____	Properly dispose of sediment trapped in the stormwater management system.

____	Replace rip rap, as needed.  If rip rap has been moved by stormwater from its original location, consider replacing the rip rap with a larger gradation of stone.

____	Remove obstructions from paths needed to access infrastructure, such as overgrown vegetation or fallen trees.

# Drainage Ditches

____	Remove any obstructions.

____	Repair or replace permanent check-dams, as needed.

____	Repair eroded areas.  If erosion is a recurring problem in any location, consider stabilizing the area with rip rap or turf reinforcement mat.

____	Restore positive drainage.  If sediment deposition or differential settling of the soil traps stormwater in pools that do not drain, hire a contractor to regrade the ditches.

Storm Drains, Storm Sewers, and Culverts

____	Remove debris from inlet grates.

____	Remove sediment from catch basins before the sediment level approaches the bottom of the lowest pipe.

____	Remove obstructions from storm sewer pipe end sections.

____	Repair eroded areas near storm sewer pipe end sections or areas where the pipe end sections have been undermined.  If erosion is a recurring problem in any location, consider stabilizing the area with rip rap or turf reinforcement mat.

____	Note the location of any sinkhole forming above a storm sewer.  Hire a contractor to perform a television inspection of the storm sewer.  The pipe may be separated at a joint, or the pipe may be cracked.

____	Restore end sections that have become disconnected from the storm sewer.

____	Replace deteriorating infrastructure, particularly where visible cracks or breaks are becoming worse over time.

Detention Basins

____	Remove litter, debris, and any dumped material around the perimeter of the detention basin.

____	Remove any debris that has accumulated on the outflow restrictor.  If the water level in the detention basin is higher than normal after three or more days of dry weather, the outflow restrictor may be blocked.

____	Repair shoreline erosion.  Consider stabilizing the shoreline with rip rap, a turf reinforcement mat, or other permanent stabilization measures.

____	Note the location of settlement, seepage, or erosion in any earthen embankment and monitor this over time.  Any of these can be a warning that the structural integrity of the embankment is compromised.

____	Remove any undesirable vegetation from an earthen embankment since the root systems can compromise the structural integrity of the embankment.

____	Note the presence and extent of algae, or other nuisance vegetation, on the water surface.  Algal blooms may be caused by excessive nutrient application (such as fertilizer) on landscaped areas that drain to the basin.  They may also be the result of a basin that is too shallow and in need of dredging.  In some cases, a fountain or mixer may alleviate the problem.  Chemical treatment usually only controls nuisance vegetation for a few months.

____	Wet bottom detention basins typically need to be dredged approximately 20 years after construction.